Points of relevance with known influence on outcome of transcranial electrical stimulation (tES) - FULL VERSION

A structured checklist increases the reproducibility of studies, minimizes deviations from a given protocol and diminishes variability. A structured checklist is thus the recommended procedure for enhancing reliability and comparability in publications of tES experiments/trials.

Participant information

- Age:

- Gender:

- Racial group:

  - Caucasian/White

  - African

  - Asian

  - Hispanic

  - Other race:

  - Mixed (i.e. >1 racial type):

- Handedness:

- Head size (distance in cm: inion – nasion, ear to ear distance):

- Previous experience with tES (additional information of potential relevance):

- Medication (Depending on the type of study an even more precise documentation may be necessary, measurement of drug levels may be considered, label and dose):

  - Within last hours

  - Within last days

  - Within last months

- Caffeine consumption (cups) (indicate the best currently relevant estimate):

  - Within last 12 h

  - Average within last months

- Nicotine consumption (cigarettes per day) (indicate the best currently relevant estimate):

  - Within last 4 h (half-life of Nicotine: 2 h)

  - Within last 48 h (half-life metabolite cotinine: 10–37 h)

- Alcohol consumption (drinks) (indicate the best currently relevant estimate):

  - Within last 24 h

  - Average with last months (how many months?)

- Drugs (e.g. marijuana) consumption (to be specified):

(for comparability important that unit is given and comparable measures are noted)

- Hormonal/menstrual cycle of female subjects

- In case of patients non-neuropsychiatric comorbidities:

Procedures applied, Dose parameters (sufficient information about the stimulation parameters should be provided in order to replicate or model the stimulation dose independently based on these parameters)

- Type of stimulation (complicated waveforms with drawings):

- Metric to be used (e.g., behavioral, cognitive, EEG, MEP, MRI):

- Product number and model of stimulator used (consider Nr. as encoded in case of multiple stimulators available):

- Stimulation intensity (peak-to-baseline):

- Stimulation duration:

  - Duration of ramping

  - Fragmented stimulation (interval duration)

- Type and number of electrodes:

- Electrode positions:

- Electrode polarities in case of tDCS:

- Position of cable fixation at electrode:

- Electrode shape:

  - target electrode:

  - return electrode:

- Electrode size:

  - target electrode:

  - return electrode:

- Method of allocation of electrode position (neuronavigation, MEP hot spot, modeling etc.):

- Electrode-skin interface (any skin preparation steps):

- Type of fixation:

saline (molarity?), in case of cream, brand:

Other factors to be considered

- Tasks/status during stimulation (if any):

  - Not specified or regulated

  - Specified/regulated: details ___________

- Day time of the experiment (from – to):

- Attention (level of arousal)

  - before stimulation:

  - during stimulation (optimal results expected with relaxation, not during arousal or sleepiness):

  - after stimulation:

  - Number of hours in sleep during the last night:

- Prior motor activity (i.e. cycling before stimulation, if yes, please define the duration):

- Prior rest (sleep) before stimulation:

- Duration of the whole experiment including preparation:

- Number of years in education (of interest in special, e.g. in cognitive studies):

- Additional comments: